## insulation resistance
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | Applied Voltage | IR30s | IR60s | DAR | Capacitance | Wind Temp | Amb Tem | Humidity | IR40 degrees | IR60xCapacitance

## Polarization Index
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | Applied Voltage | IR30s | IR60s | IR300s | IR600s | DAR | PI | Capacitance | Wind Temp | Amb Tem | Humidity | IR20 degrees | IR60xCapacitance

## Winding Resistance
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | Applied Current | Resistnace | Wind Temp | Amb Tem | Humidity | Resistance at 75degrees | unbalanced

## DDF
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | DDFV1 | DDFV2 | DDFV3 | DDFV4 | DDFV5 | DDFV6 | DDFV7 | DDFV8 | DDFV9 | DDFV10 | CV1 | CV2 | CV3 | CV4 | CV5 | CV6 | CV7 | CV8 | CV9 | CV10 | Wind Temp | Amb Temp | Humidity

## OfflinePD
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | voltage | Qpos | Qneg | Identification | Wind Temp | Amb Temp | Humidity | [16 empty] | PD Pattern fig

## Inspection
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Result1 | Result2 | Result3 | Result4 | Result5 | Result6 | Result7 | Result8 | Result9 | Result10 | [14 empty] | Pict

## Core Flux
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Applied Flux | Time | Average Temp | N of hotspot | Temp hot spot | [19 empty] | Pict

## Elcid
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Applied Flux | number of slot above 100mA | [22 empty] | Pict

## Bump Test
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis

## Rotor Flux
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | salient | pole_1density | pole_2_density | pole_3_density | pole_4_density | pole_5_density | pole_6_density | [15 empty] | active_load_MW | reactive_loadMVA | image
[5 empty] | cylindrical | pole1_coil1_diff | pole1_coil2_diff | pole1_coil3_diff | pole1_coil4_diff | pole1_coil5_diff | pole1_coil6_diff | pole1_coil7_diff | pole1_coil8_diff | pole1_coil9_diff | pole1_coil10_diff | pole2_coil1_diff | pole2_coil2_diff | pole2_coil3_diff | pole2_coil4_diff | pole2_coil5_diff | pole2_coil6_diff | pole2_coil7_diff | pole2_coil8_diff | pole2_coil9_diff | pole2_coil10_diff |  | active_load_MW | reactive_loadMVA | image

## Online PD
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | Qpos | Qneg | Identification | automatic identification | Wind Temp | Amb Temp | Humidity | Active load | reactive load | polarity predominance | trend analysis pos | trend analysis neg | double in the last six month | [10 empty] | PD Pattern fig

## CABLE_OVERSHEATH
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | core_tested | Applied Voltage | Withstanded | IR60s [gohm] | Aborbed current | Amb temp | Humidity

## CABLE_IR
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | core_tested | Applied Voltage | IR30s | IR60s | DAR | Capacitance | Amb Tem | Humidity

## CABLE_PI
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | core number | Applied Voltage | IR30s | IR60s | IR300s | IR600s | DAR | PI | Capacitance | Amb Tem | Humidity

## CABLE_VLF_TD
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | core number | voltage 1_kV_always0.5Uo | number of cycle | mean TD | std | voltage2_kV_always_Uo | number of cycle | mean_TD | std | voltage 3_kV_always_1.5Uo | number of cycle | mean_TD | std | voltage 4kV | number of cycle | mean_TD | std | voltage 5kV | number of cycle | mean_TD | std | comments | Delta_td_15Uo_05Uo | picture

## SW_IR
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | component_tested | Applied Voltage | IR30s | IR60s | DAR | Capacitance | Amb Tem | Humidity | bus tested | panel_number if individual subcomponent is tested

## SW_PI
id | date | asset_id | subcomponent_id | diagnostic_test_id | feature_1 | feature_2 | feature_3 | feature_4 | feature_5 | feature_6 | feature_7 | feature_8 | feature_9 | feature_10 | feature_11 | feature_12 | feature_13 | feature_14 | feature_15 | feature_16 | feature_17 | feature_18 | feature_19 | feature_20 | feature_21 | feature_22 | feature_23 | feature_24 | feature_25 | analysis
[5 empty] | Phase tested | component_tested | Applied Voltage | IR30s | IR60s | IR300s | IR600s | DAR | PI | Capacitance | Amb Tem | Humidity | bus tested | panel_number if individual subcomponent is tested